## Slide 1: Introduction to Alternative Heating Systems
South West Chicken Association, April 2013

## Slide 2: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 3: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 4: Challenges to the Industry
Heat & Power Intensive

## Slide 5: Challenges to the Industry
Source: USDA

## Slide 6: Challenges to the Industry
Growers vulnerable to wide variation in energy prices and usage.

## Slide 7: Challenges to the Industry
Increasing environmental constraints add costs
E.g. Nitrates Directive restricts land application of manures.

## Slide 8: Challenges to the Industry
Increasing restriction on anti-microbial use
Providing an optimum house environment is critical in supporting bird’s immune system

## Slide 9: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 10: First, and Most Importantly
Regardless of heating method…….
houses should be well insulated and “Tight”
Kind permission of Mike Czarick, UGA
100%
5°C
10°C
70%
15°C
50%
25°C
25%

## Slide 11: Conventional Heating
Tried and trusted technology
Relative cheap to install and maintain
“Responsive” form of heat

## Slide 12: Conventional House Heating
Conventional LPG heating produces water as a by-product. (1 litre LPG = 0.8L Water)
C3H8 + 5 O2 → 3 CO2 + 4 H2O
Propane
Carbon Dioxide
Water
Oxygen
Ventilation increases by a third simply to remove moisture created by LPG combustion!

## Slide 13: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 14: Alternative Heating Systems
There are basically two types of alternative heating systems (do not burn propane/natural gas)
Kind permission of Mike Czarick, UGA
  Hot air systems
  Hydronic (Hot Water) systems

## Slide 15: Water Heating Systems
There are typically four different types of heat exchangers used in Hydronic Systems:
  Black Steel Pipes
  Finned Tubes
  Radiator Fans
  Under Floor Heating
Kind permission of Mike Czarick, UGA

## Slide 16: Black Steel Pipe
Kind permission of Mike Czarick, UGA

## Slide 17: Thermal image of hot water pipes
Kind permission of Mike Czarick, UGA
32°C

## Slide 18: Finned tubes
Finned tube
  More surface area
  More heating produced per metre
  Less pipe required
Kind permission of Mike Czarick, UGA

## Slide 19: Finned tubes
Traditionally installed in vicinity of air inlets, warming cold incoming air.
Kind permission of Mike Czarick, UGA

## Slide 20: Finned tubes
Located on ceiling
near air inlets
Kind permission of Mike Czarick, UGA

## Slide 21: Individual Radiators with Fans
Individual radiators with blower fans
  Lower cost option
  Similar to forced air furnaces but air produced is not as hot.
Kind permission of Mike Czarick, UGA

## Slide 22: Radiator fan located next to ceiling
Kind permission of Mike Czarick, UGA

## Slide 23: Suspended from Ceiling

## Slide 24: Floor heating systems
Concrete floor with pipes running through it
Kind permission of Mike Czarick, UGA

## Slide 25: Thermal images of floor

## Slide 26: Floor Heating Systems
Floor heating:
  Primarily designed to provide background heat
  Tends to have a very slow response time
Yes, the litter tends to be dry but this tends to be true with any hydronic system
Not a very common type hydronic heating system – cost
Kind permission of Mike Czarick, UGA

## Slide 27: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 28: Bhsl FBC
The only farm sized technology guaranteed
to work with Poultry Manure as a fuel.

## Slide 29: Optimal Ventilation
A clean source of abundant heat to optimise environmental conditions
A departure from a “Minimum” ventilation strategy

## Slide 30: Relative Humidity is Key

## Slide 31: Bird Benefits
5 point improvement in FCR
20 point improvement in EPEF
50% reduction in Pododermatitis
25% reduction in Hock Burn

## Slide 32: Pododermatitis

## Slide 33: Grower Benefits
Reduction in LPG used
Renewable Heating Incentive (RHI)
Security of Energy Supply
Ash Sales (Rich in Phosphorus and potash*)
Cost Certainty
Easier Litter Management
Improved Working Conditions
*utilising poultry manure

## Slide 34: Environment Benefits
Creates a sustainable alternative to land application
Nutrients are more readily recycled as Ash
Lower Carbon Footprint
Less Ammonia created
at source

## Slide 35: Agenda
Introduction
Challenges Facing Industry
Conventional Heating
Hot Water Heating Systems
Optimal Ventilation
Fuel Types

## Slide 36: Fuel Types
In energy terms Pellets are now the same cost as LPG and the cost of Dry Woodchip (30% Moisture) has increased to approx. £110/tonne.
Current cheapest available fuel is Wet Woodchip at approx. £38/tonne.
A number of biomass fuels are available
20 Year Fuel Comparison*
* Example 6 House Farm

## Slide 37: Which Fuel?
Chart: 
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Poultry Manure | 10937.5 | 11375 | 11830 | 12303.2 | 12795.328 | 13307.1411 | 13839.4268 | 14393.0038 | 14968.724 | 15567.4729 | 16190.1719 | 16837.7787 | 17511.2899 | 18211.7415 | 18940.2111 | 19697.8196 | 20485.7324 | 21305.1617 | 22157.3681 | 23043.6629
Wet Woodchip | 62783.2326 | 65294.5619 | 67906.3444 | 70622.5982 | 73447.5021 | 76385.4022 | 79440.8183 | 82618.451 | 85923.1891 | 89360.1166 | 92934.5213 | 96651.9021 | 100517.9782 | 104538.6974 | 108720.2452 | 113069.0551 | 117591.8173 | 122295.4899 | 127187.3095 | 132274.8019
Dry Woodchip | 103125 | 109312.5 | 115871.25 | 122823.525 | 130192.9365 | 138004.5127 | 146284.7835 | 155061.8705 | 164365.5827 | 174227.5176 | 184681.1687 | 195762.0388 | 207507.7612 | 219958.2268 | 233155.7204 | 247145.0637 | 261973.7675 | 277692.1935 | 294353.7251 | 312014.9487
LPG | 140098.3146 | 148504.2135 | 157414.4663 | 166859.3343 | 176870.8943 | 187483.148 | 198732.1369 | 210656.0651 | 223295.429 | 236693.1547 | 250894.744 | 265948.4286 | 281905.3344 | 298819.6544 | 316748.8337 | 335753.7637 | 355898.9895 | 377252.9289 | 399888.1046 | 423881.3909
Wet Woodchip for 20 years saves nearly £3.3m compared to LPG and is £1.9m less than Dry Woodchip.
20 Year Fuel Costs on 350k Bird Farm*
The ideal is to use Poultry Manure and Save nearly £5m over LPG.
*based on annual 150 kW/ m²

## Slide 38: Thank you for your time
Any Questions?